## Base
Dropbox | Marca comercial | Eficiencia | Componentes | Comentarios | Costo de equipo | Tipo de moneda | Codigo | Colector o Accesorio
Termosolar 1 | EMMETI | 64.2% | Temperature differential controller ECS 3 | Sin conexión | 120.33 | EUR | 1 | A
| EMMETI |  | Topway WHR pre-assembled manifold, nickel-plated brass, 24x19 takeoff connections |  | 21.4 | EUR | 2 | A
| EMMETI |  | Kit de proteccion de sobretension para sensor de colector |  | 6.27 | EUR | 3 | A
| EMMETI |  | Sensores de temperatura |  | 10.68 | EUR | 4 | A
| EMMETI |  | Check de circulacion solar GSN1v 38 |  | 163.73 | EUR | 5 | A
| EMMETI |  | Colector solar Acrobaleno SXT |  | 345.84 | EUR | 6 | C
| EMMETI |  | Colector solar Acrobaleno SXI |  | 144.4 | EUR | 7 | C
| EMMETI |  | Termostato diferencial |  | 46.53 | EUR | 8 | A
| EMMETI |  | Sensor pocket |  | 2.46 | EUR | 9 | A
| EMMETI |  | Over voltage protection kit for collector sensor |  | 6.27 | EUR | 10 | A
| EMMETI |  | Temperature sensors |  | 7.62 | EUR | 11 | A
| EMMETI |  | Contact sensor with cable 1.5 m |  | 10.68 | EUR | 12 | A
| EMMETI |  | Arcobaleno SXT solar collector for on-roof mounting |  | 724.5 | EUR | 13 | A
| EMMETI |  | Arcobaleno VP vacuum tube solar collector for on-roof mountingArcobaleno VP vacuum tube solar collector for on-roof mounting |  | 144.4 | EUR | 14 | A
| EMMETI |  | Set of three guides for tile roof installation for VP 18 |  | 139.05 | EUR | 15 | A
| EMMETI |  | Flat roof and 45° wall installation set |  | 81.78 | EUR | 16 | A
| EMMETI |  | Set of three support guides for VP 18 panels |  | Descontinuado | EUR | 17 | A
| EMMETI |  | Set of brackets for corrugated sheet metal for VP 18 |  | Descontinuado | EUR | 18 | A
| EMMETI |  | Angle correction set for VP 18 panels |  | 129.61 | EUR | 19 | A
| EMMETI |  | Set of brackets for bent tiles for VP 18 panels |  | 80.3 | EUR | 20 | A
| EMMETI |  | Set of brackets for slate roofs for VP 18 panels |  | 6.08 | EUR | 21 | A
| EMMETI |  | Solar rated automatic air vent |  | 18.12 | EUR | 22 | A
| EMMETI |  | De-aeration device |  | 11.6 | EUR | 23 | A
| EMMETI |  | Expansion vessel bracket |  | 6.08 | EUR | 24 | A
| EMMETI |  | Stainless steel flexible hose kit |  | 27.2 | EUR | 25 | A
| EMMETI |  | Expansion vessel for solar |  | 2.33 | EUR | 26 | A
| EMMETI |  | Ball Valve for Solar Male-Female |  | 6.13 | EUR | 27 | A
| EMMETI |  | Solar rated safety valve Sicura HT |  | 5.32 | EUR | 28 | A
| EMMETI |  | Immersion sleeves M 1/2” with cable threading |  | 34.84 | EUR | 29 | A
| EMMETI |  | Thermostatic mixer for sanitary water for solar installation |  | Descontinuado | EUR | 30 | A
| EMMETI |  | Copper pipes, paired and pre-insulated, separable |  | Descontinuado | EUR | 31 | A
| EMMETI |  | Stainless steel rapid connection kit, external threading |  | Descontinuado | EUR | 32 | A
| EMMETI |  | Pipe connection kit with screws |  | 34.84 | EUR | 33 | A
| EMMETI |  | Single tile roof installation set of brackets with |  | 2.94 | EUR | 34 | A
| EMMETI |  | Plugs kit for Arcobaleno SXT |  | 135.52 | EUR | 35 | A
| EMMETI |  | Set of brackets for normal tiles, with for VP 18 panels |  | 6.08 | EUR | 36 | A
| EMMETI |  | Solar rated automatic air vent |  | 3.56 | EUR | 37 | A
| EMMETI |  | Sensor PTC +125 °C for TD1 |  | Free | EUR | 38 | A
Termosolar 2 | VALLIANT | 64.2% | auroTHERM plus VFK 150 V | Sin conexión | 879 | EUR | 39 | C
| VALLIANT |  | auroTHERM plus VFK 150 H |  | 879 | EUR | 40 | C
| VALLIANT |  | Kit Hydraulic Connection |  | 60 | EUR | 41 | A
| VALLIANT |  | Hydraulic connection kit - Extension for 1 VFK-H sensor V Installation side by side |  | 41 | EUR | 42 | A
| VALLIANT |  | Hydraulic connection kit - Extension for 1 sensor VFK H Pose turvy |  | 54 | EUR | 43 | A
| VALLIANT |  | Mounting rails for roof 1 VFK V |  | 39 | EUR | 44 | A
| VALLIANT |  | Mounting rails for roof H 1 VFK |  | 61 | EUR | 45 | A
| VALLIANT |  | 4 x fixing brackets (to choose based on the cover) |  | 118 | EUR | 46 | A
| VALLIANT |  | securing tabs x 2 (to choose based on the cover) |  | 71 | EUR | 47 | A
| VALLIANT |  | fixing brackets for roof tiles x 4 |  | 118 | EUR | 48 | A
| VALLIANT |  | fixing lugs for channel or Roman tiles x 4 |  | 118 | EUR | 49 | A
| VALLIANT |  | fixing brackets for flat tiles or slate x 4 (black) |  | 118 | EUR | 50 | A
| VALLIANT |  | fixing brackets for sheet metal roof x 4 |  | 118 | EUR | 51 | A
| VALLIANT |  | auroTherm exclusive VTK 570 |  | 807 | EUR | 52 | C
| VALLIANT |  | auroTherm exclusive VTK 1140 |  | 1613 | EUR | 53 | C
| VALLIANT |  | water connection kit for VTK sensor field / 2 |  | 38 | EUR | 54 | A
| VALLIANT |  | water connection kit. VTK extension for a sensor / 2 |  | 73 | EUR | 55 | A
| VALLIANT |  | mounting rails for a VTK 1140/2 sensor |  | 53 | EUR | 56 | A
| VALLIANT |  | mounting rails for a sensor VTK 570/2 |  | 53 | EUR | 57 | A
| VALLIANT |  | 4 x fixing brackets (to choose based on the cover) |  | 118 | EUR | 58 | A
| VALLIANT |  | fixing brackets for roof tiles x 4 |  | 118 | EUR | 59 | A
| VALLIANT |  | fixing lugs for channel or Roman tiles x 4 |  | 118 | EUR | 60 | A
| VALLIANT |  | fixing brackets for flat tiles or slate x 4 (black) |  | 118 | EUR | 61 | A
| VALLIANT |  | fixing brackets for sheet metal roof x 4 |  | 118 | EUR | 62 | A
| VALLIANT |  | Hangs off to bracket for mechanical tiles x 4 (optional) |  | 73 | EUR | 63 | A
| VALLIANT |  | AuroTherm VFK 155 Vertical Installation |  | 1570.79 | EUR | 64 | A
| VALLIANT |  | solar pump |  | 259.31 | EUR | 65 | A
| VALLIANT |  | auroSTOR Solar Cylinders 210 Liters |  | 904.25 | EUR | 66 | A
| VALLIANT |  | auroSTOR Solar Cylinders 260 Liters |  | 956.99 | EUR | 67 | A
| VALLIANT |  | auroSTOR Solar Cylinders 297 Liters |  | 1009.76 | EUR | 68 | A
| VALLIANT |  | Vaillant 560 automatic solar controller |  | 186.92 | EUR | 69 | A
| VALLIANT |  | auroFLOW plus drainback systems |  | N/A | EUR | 70 | A
Termosolar 3 | DAIKIN | 78.4% | Solar Thermal | Conexión integrada en datashet | 2624.81 | USD | 71 | C
| DAIKIN |  | Roof fixings |  | N/A |  | 72 | A
| DAIKIN |  | Mounting rails and solar connection kit |  | N/A |  | 73 | A
| DAIKIN |  | Solar controller |  | N/A |  | 74 | A
| DAIKIN |  | Solar pump station |  | N/A |  | 75 | A
| DAIKIN |  | Solar flow sensor (pressurised only) |  | N/A |  | 76 | A
| DAIKIN |  | Solar fluid (pressurised only) |  | N/A |  | 77 | A
| DAIKIN |  | Roof flashing (drainback only) |  | N/A |  | 78 | A
|  |  | OPC-10 |  | 1030 | EUR | 79 | C
|  |  | OPC-15 |  | 1398 | EUR | 80 | C
|  |  | Eco-10 |  | 720 | EUR | 81 | C
|  |  | Vaccum Tube 47/37 mm - 1505 mm |  | 398 | EUR | 82 | A
|  |  | Vacuum tube 47/58 mm - 1900 mm |  | 392 | EUR | 83 | A
|  |  | Tile roof mounting basic set OPC 10 |  | 154 | EUR | 84 | A
|  |  | Tile roof mounting extension set OPC 10 |  | 127 | EUR | 85 | A
|  |  | Tile roof mounting basic set OPC 15 |  | 164 | EUR | 86 | A
|  |  | Tile roof mounting extension set OPC 15 |  | 142 | EUR | 87 | A
|  |  | Tile roof mounting basic set ECO 10 |  | 151 | EUR | 88 | A
|  |  | Tile roof mounting extension set ECO 10 |  | 122 | EUR | 89 | A
|  |  | Flat roof installation basic set |  | 162 | EUR | 90 | A
|  |  | Flat roof extension |  | 151 | EUR | 91 | A
|  |  | Additional fixing floorboards 12.00 Flat roof installation |  | 12 | EUR | 92 | A
|  |  | Concrete base * 170 x 20 x 15 cm (128 kg) |  | 166 | EUR | 93 | A
|  |  | Concrete base * Extension element 40 x 20 x 15 cm (30 kg) |  | 37 | EUR | 94 | A
|  |  | Horizontal Mont.-Set OPC 10 |  | 322 | EUR | 95 | A
|  |  | Horizontal Mont.-Set OPC 15 |  | 327 | EUR | 96 | A
|  |  | Flat roof installation basic set |  | 160 | EUR | 97 | A
|  |  | Flat roof extension |  | 146 | EUR | 98 | A
|  |  | Additional fixing floorboards 12.00 Flat roof installation |  | 12 | EUR | 99 | A
|  |  | Concrete base * 170 x 20 x 15 cm (128 kg) |  | 166 | EUR | 100 | A
|  |  | Concrete base * Extension element 40 x 20 x 15 cm (30 kg) |  | 37 | EUR | 101 | A
|  |  | Horizontal Mont.-Set DRC10 |  | 330 | EUR | 102 | A
|  |  | Tichelmann hydraulic basic set 3/4 " |  | 78 | EUR | 103 | A
|  |  | Tichelmann Hydraulic Expansion |  | 56 | EUR | 104 | A
|  |  | Connection set ¾ "- 20 mm 500 mm BL |  | 92 | EUR | 105 | A
|  |  | 1 compensator ¾ " |  | 20 | EUR | 106 | A
|  |  | 1 set seals |  | 6 | EUR | 107 | A
|  |  | 1 set washers |  | 6 | EUR | 108 | A
|  |  | hydraulic cover |  | 22 | EUR | 109 | A
|  |  | Hydraulic cover black anodized |  | 31 | EUR | 110 | A
|  |  | Solar Controller level 3 |  | 153 | EUR | 111 | A
|  |  | Solar controller level 5 |  | 201 | EUR | 112 | A
|  |  | Solar controller level 7 |  | 710 | EUR | 113 | A
|  |  | Differential pressure sensor Set |  | 327 | EUR | 114 | A
|  |  | Differential pressure sensor Set |  | 279 | EUR | 115 | A
|  |  | AMK-SOLAC Systems AG-pump group 277.00 OSSI type 1-60 / 6.0 meters head / 1.5-6.0l / Min |  | 277 | EUR | 116 | A
|  |  | AMK-SOLAC Systems AG pump group 400.00 OSSI type 2-60 / 6.0 meters head / 1.5-6.0 l / min. |  | 400 | EUR | 117 | A
|  |  | AMK-SOLAC Systems AG-pump group 400.00 OSSI type 2-60 / 6.0 meters head / 4.0-16.0 l / min. |  | 400 | EUR | 118 | A
|  |  | Twinway Split solar coil for OPC 10 and OPC 15 15m |  | 752 | EUR | 119 | A
|  |  | Twinway Split solar coil for ECO 10 15m |  | 752 | EUR | 120 | A
|  |  | Tichelmann hydraulic basic set 3/4 " |  | 78 | EUR | 121 | A
|  |  | hydraulic basic set |  | 30 | EUR | 122 | A
|  |  | Hydraulic Expansion |  | 46 | EUR | 123 | A
|  |  | Tichelmann Hydraulic Expansion |  | 56 | EUR | 124 | A
|  |  | Regusol filling and rinsing unit |  | 59 | EUR | 125 | A
|  |  | Toolbox (spare parts / assembly case) net |  | 191 | EUR | 126 | A
|  |  | Tyfocor |  | 84 | EUR | 127 | A
|  |  | Regusol filling and rinsing unit |  | 59 | EUR | 128 | A
Termosolar 5 | Dimplex Renewables | 80.1% | Solar Thermal (Single wall kit) | sin conexión | 3199 | USD | 129 | C
| Dimplex Renewables |  | Heat transfer system |  | N/A |  | 130 | A
| Dimplex Renewables |  | SCxn Solar Unvented cylinders |  | N/A |  | 131 | A
| Dimplex Renewables |  | Pump station |  | N/A |  | 132 | A
| Dimplex Renewables |  | control unit |  | N/A |  | 133 | A
| Dimplex Renewables |  | over volt box |  | N/A |  | 134 | A
| Dimplex Renewables |  | expansion vessel and fixing kit |  | N/A |  | 135 | A
| Dimplex Renewables |  | Controller |  | N/A |  | 136 | A
| Dimplex Renewables |  | Flush and fill pump |  | N/A |  | 137 | A
| Dimplex Renewables |  | Air separator |  | N/A |  | 138 | A
| Dimplex Renewables |  | Feed though tile |  | N/A |  | 139 | A
| Dimplex Renewables |  | Termostatic mixing valve |  | N/A |  | 140 | A
| Dimplex Renewables |  | Flow meter |  | N/A |  | 141 | A
| Dimplex Renewables |  | Hydraulic kit for integration with head pumps SOLHPHYPK |  | N/A |  | 142 | A
Termosolar 6 | Oventrop |  | Tube Collector "OKP-10/20" | Con conexión | N/A |  | 143 | C
| Oventrop |  | Flat plate collector "OKF-CK22" |  | N/A |  | 144 | C
| Oventrop |  | Stations "Regusol-130" |  | 1669.45 | USD | 145 | A
| Oventrop |  | Stations "Regusol-180" |  | 1892.42 | USD | 146 | A
| Oventrop |  | Station "Regusol X-uno" with exchanger |  | 1823.32 | USD | 147 | A
| Oventrop |  | Station "Regusol X-Duo" with exchanger |  | 2341.21 | USD | 148 | A
| Oventrop |  | "Regumaq X-30-B/XZ-30-B" Stations for heating of potable water |  | 4400.1 | USD | 149 | A
| Oventrop |  | "Regumaq XK" Cascade control set for heating of potable water Control concepts |  | 2312.1 | USD | 150 | A
| Oventrop |  | "Regtronic" Controllers for solar and heating techniques |  | 2350 | USD | 151 | A
| Oventrop |  | "Regucor WHS" Energy storage centre "Hydrocor" Storage Cylinders |  | 1800 | USD | 152 | A
| Oventrop |  | "Solar" Diaphragm expansion tanks, in-line tanks Pipes and fittings |  | 1231.1 | USD | 153 | A
Termosolar 7 | Solar Frontier |  | Solar Frontier's S-Series module | Sin conexión | 142.11 | EUR | 154 | C
Termosolar 8 | Grant UK |  | GRANT SOLAR THERMAL 1 collector bronze in-roof (tile) kit- GSSKIT15 |  | 1278 | EUR | 155 | C
| Grant UK |  | Grant Solar Thermal 1 collector bronze in-roof (slate) kit- GSSKIT16 |  | 1283 | EUR | 156 | C
| Grant UK |  | GSX1 CONTROLLER |  | 274.1 | EUR | 157 | A
| Grant UK |  | GSD3 EAST/WEST CONTROLLER (DUAL SYSTEM) |  | 274.1 | EUR | 158 | A
| Grant UK |  | Solar Pump |  | 144 | EUR | 159 | A
| Grant UK |  | 20 LITRE SOLAR FLUID (GLYCOL |  | 76.4 | EUR | 160 | A
| Grant UK |  | EXPANSION VESSEL 25 LITRE |  | 44.2 | EUR | 161 | A
| Grant UK |  | Thermostatic solution for linking combination boilers to solar thermal pre-heat cylinders |  | 140.65 | EUR | 162 | A
| Grant UK |  | Recirculating/Sanitising solution |  | 125 | EUR | 163 | A
Termosolar 9 | Dimplex Solar | 80.1% | 20 Tube System at 2.03m2- Collector | Sin conexión |  |  | 164 | N/A
| Dimplex Solar |  | SOLC250 |  |  |  | 165 | N/A
| Dimplex Solar |  | SOLCDF32/22 |  |  |  | 166 | N/A
| Dimplex Solar |  | ECSL300ST 580 |  |  |  | 167 | N/A
| Dimplex Solar |  | SOL500ST |  |  |  | 168 | N/A
| Dimplex Solar |  | SOLCDF22 |  |  |  | 169 | N/A
| Dimplex Solar |  | SOLCHP22 |  |  |  | 170 | N/A
| Dimplex Solar |  | SOLHK3 |  |  |  | 171 | N/A
Termosolar 10 | Solar Thermal Power |  | CR-110-AP |  | 1428 | USD | 172 | C
| Solar Thermal Power |  | CR-130-AP |  | 1769 | USD | 173 | C
| Solar Thermal Power |  | CR-140-AP |  | 1968 | USD | 174 | C
Termosolar 11 | AO Smith(Novem) |  | Equipo Solar Completo | Sin conexión | 38030 | MXN | 175 | A
| AO Smith(Novem) |  | Equipo Solar Completo Base 32 |  | 38030 | MXN | 176 | A
| AO Smith(Novem) |  | Equipo Solar Completo CR- 120 |  | 60345 | MXN | 177 | A
| AO Smith(Novem) |  | Panel Solar CR- 90 |  | 20695 | MXN | 178 | C
| AO Smith(Novem) |  | Panel Solar CR- 120 Chromagen |  | 35370 | MXN | 179 | C
| AO Smith(Novem) |  | Base Metalica para tanque 150 lts |  | 3200 | MXN | 180 | A
| AO Smith(Novem) |  | Termotanque Chromagen de 150 lts |  | 20155 | MXN | 181 | A
| AO Smith(Novem) |  | Kit de interconexion Panel 150 lts<> Tanque |  | 3200 | MXN | 182 | A
| AO Smith(Novem) |  | Base Metalica para tanque 200 lts |  | 4790 | MXN | 183 | A
| AO Smith(Novem) |  | Tanque de 200 lts Chromagen |  | 27745 | MXN | 184 | A
| AO Smith(Novem) |  | Kit de Conexión Equipo de 200 Lts |  | 4790 | MXN | 185 | A
| AO Smith(Novem) |  | Valvula Termostatica de 3/4" Taco |  | 4740 | MXN | 186 | A
| AO Smith(Novem) |  | Valvula Termostatica Heliocol |  | 3250 | MXN | 187 | A
| AO Smith(Novem) |  | Valvula Anticongelante |  | 3705 | MXN | 188 | A
| AO Smith(Novem) |  | Conector para panel <> panel |  | 535 | MXN | 189 | A
| AO Smith(Novem) |  | Enlace panel<>panel |  | 326 | MXN | 190 | A
Termosolar 12 | Clearline | 81% | Thermo Solar Panel V20 | Sin conexión | 752.6 | EUR | 191 | C
| Clearline |  | Thermo Solar Panel V30 |  | 929.38 | EUR | 192 | C
| Clearline |  | Flashing for single Clearline 20 and 30 series solar panel, suitable for tiled roof. Panel fixing brackets (T- series) |  | 112 | EUR | 193 | A
| Clearline |  | Flashing for single Clearline 20 and 30 series solar panel, suitable for slate roof. Panel fixing brackets (S- series) |  | 112 | EUR | 194 | A
| Clearline |  | Flashing for single Clearline 20 and 30 series solar panel, suitable for pantile roof. Panel fixing brackets (C-series) |  | 235 | EUR | 195 | A
| Clearline |  | Solar Thermal Control and Installation Drainback |  | 550 | EUR | 196 | A
| Clearline |  | Solar Thermal Control and Installation Pressurised |  | 600 | EUR | 197 | A
| Clearline |  | First Fix Kit. 20m plug-and-play solar panel sensor cable with in-line connector block. |  | 25 | EUR | 198 | A
| Clearline |  | Viridian Solar System Fluid. Ready to use, 10 litres. |  | 33.88 | EUR | 199 | A
| Clearline |  | Temperature sensor with 3m cable and RJ45 connection |  | 32 | EUR | 200 | A
| Clearline |  | Pre-insulated twin pipe, soft copper 10mm diameter, 25 m length. 13mm PEX insulation. Twin core sensor cable |  | 124.4 | EUR | 201 | A
| Clearline |  | Pre-insulated twin pipe, stainless steel DN16 10m length. 13mm EPDM insulation. Twin core sensor cable |  | 149.61 | EUR | 202 | A
| Clearline |  | Pre-insulated twin pipe, stainless steel DN16 15m length. 13mm EPDM insulation. Twin core sensor cable |  | 223.18 | EUR | 203 | A
| Clearline |  | Pre-insulated twin pipe, stainless steel DN16 25m length. 13mm EPDM insulation. Twin core sensor cable |  | 370.34 | EUR | 204 | A
| Clearline |  | POD-PV. Horizontal format thermal store for solar PV pre-heated domestic hot water |  | 1076.66 | EUR | 205 | A
| Clearline |  | POD-ST. Horizontal format thermal store for solar thermal pre-heated domestic hot water, with built in solar controller, pump and over-pressure catch tank |  | 1444.99 | EUR | 206 | A
| Clearline |  | Pressurised solar loop kit for Pod-ST. Includes expansion vessel, filling port with flow indicator and check valve |  | 124 | EUR | 207 | A
| Clearline |  | Combi-diverter valve set. Three valve kit to integrate POD pre-heated water with combi boiler |  | 222.35 | EUR | 208 | A
Termosolar 13 | Ecomesh |  | ECOMESH k01 |  | 2686.9 | EUR | 209 | C
| Ecomesh |  | ECOMESH k02 |  | 3678.9 | EUR | 210 | C
| Ecomesh |  | ECOMESH k03 |  | 4915.47 | EUR | 211 | C
| Ecomesh |  | ECOMESH k04 |  | 6067.98 | EUR | 212 | C
| Ecomesh |  | Depósito de acumulación solar |  | 3678.9 | EUR | 213 | A
| Ecomesh |  | Estructura para cubierta plana / inclinada |  | 3678.9 | EUR | 214
| Ecomesh |  | Grupo de bombeo |  | 3678.9 | EUR | 215
| Ecomesh |  | Centralita de regulación |  | 3678.9 | EUR | 216
| Ecomesh |  | Vaso de expansión |  | 3678.9 | EUR | 217
| Ecomesh |  | Microinversor |  | 3678.9 | EUR | 218
| Ecomesh |  | Cuadro de protección eléctrica |  | 3678.9 | EUR | 219
Termosolar 14 | Kingspan Solar |  | Thermomax HP 400 | Sin conexión | 5145 | USD | 220 | C
Termosolar 15 | Collector Arrays |  | Solar Transfer Station ST1 | Sin conexión | N/A |  | 221 | N/A
| Collector Arrays |  | Solar Transfer Station ST1 Dual |  | N/A |  | 222 | N/A
| Collector Arrays |  | Solar Transfer Station ST2 |  | N/A |  | 223 | N/A
| Collector Arrays |  | Solar Transfer Station ST3 |  | N/A |  | 224 | N/A
| Collector Arrays |  | Standard Trigon Collector |  | N/A |  | 225 | N/A
| Collector Arrays |  | Advanced controller DeltaSol M |  | N/A |  | 226 | N/A
| Collector Arrays |  | THERMOMAX HP400 |  | N/A |  | 227 | N/A
| Collector Arrays |  | Trigon 2.3V |  | N/A |  | 228 | N/A
| Collector Arrays |  | Trigon 2.3H |  | N/A |  | 229 | N/A
| Collector Arrays |  | Slooping on-roof mounting kits (Tile & Slate) Vertical position |  | N/A |  | 230 | N/A
Termosolar 16 | Hamworthy |  | Trigon Solar Transfer Stations ST1 & ST2 |  | N/A |  | 231 | N/A
| Hamworthy |  | Trigon Solar Control and Monitoring (Advanced Trigon Controller) |  | N/A |  | 232 | N/A
| Hamworthy |  | Advanced controller DeltaSol M |  | N/A |  | 233 | N/A
| Hamworthy |  | WMZ Calorimeter |  | N/A |  | 234 | N/A
| Hamworthy |  | DL2 Datalogger |  | N/A |  | 235 | N/A
| Hamworthy |  | V40 Flowmeter |  | N/A |  | 236 | N/A
| Hamworthy |  | Trigon solar with single calorifier pre-heater, for a 2nd calorifier system |  | N/A |  | 237 | N/A
| Hamworthy |  | Trigon 2.3V |  | N/A |  | 238 | N/A
| Hamworthy |  | Trigon 2.3H |  |  |  | 239 | N/A
| Hamworthy |  | Slooping on-roof mounting kits (Tile & Slate) Vertical position |  |  |  | 240 | N/A
| Hamworthy |  | Trigon Solar Transfer Stations ST1 & ST2 |  |  |  | 241 | N/A
| Hamworthy |  | Trigon Solar Control and Monitoring (Advanced Trigon Controller) |  |  |  | 242 | N/A
| Hamworthy |  | Advanced controller DeltaSol M |  |  |  | 243 | N/A
| Hamworthy |  | WMZ Calorimeter |  |  |  | 244 | N/A
| Hamworthy |  | DL2 Datalogger |  |  |  | 245 | N/A
| Hamworthy |  | V40 Flowmeter |  |  |  | 246 | N/A
| Hamworthy |  | Trigon solar with single calorifier pre-heater, for a 2nd calorifier system |  | N/A |  | 247 | N/A
Termosolar 17 | PANDA |  | PANEL YL280C-30B | Sin conexión | 239 | EUR | 248 | C
Termosolar 18 | EMS |  | Thermomax Solar Evacuated Tubes | Sin conexión |  |  | 249 | C
Termosolar 19 | MS |  | Sin informacion | Sin conexión |  |  | 250 | N/A
Termosolar 20 | Tisun |  | PF-SWS2S/200/SFRE | Sin conexión | 2538.43 | EUR | 251 | C
| Tisun |  | PF-SWS4S/300/SFRE |  | 3072.75 | EUR | 252 | C
| Tisun |  | PF-SWS6S/500/SFRE |  | 3982.33 | EUR | 253 | C
| Tisun |  | Universal mounting hanger bolt |  | 19 | EUR | 254 | A
| Tisun |  | Universal mounting Duo hanger bol |  | 38 | EUR | 255 | A
| Tisun |  | Rafter anchor for roof tiles, height-adjustable, height 40 - 60 mm |  | 44 | EUR | 256 | A
| Tisun |  | Joint clamp for tin joint roof |  | 26 | EUR | 257 | A
| Tisun |  | Universal guy cable set for tin joint roofs |  | 240 | EUR | 258 | A
| Tisun |  | Joint clamp for guy cable and snowguard system 1" |  | 20 | EUR | 259 | A
| Tisun |  | Simplex solar control unit |  | 310 | EUR | 260 | A
| Tisun |  | Roof hook for roof tiles |  | 26 | EUR | 261 | A
| Tisun |  | Duplex solar control unit |  | 425 | EUR | 262 | A
| Tisun |  | Ambient temperature sensor |  | 42 | EUR | 263 | A
| Tisun |  | Multiplex solar control unit |  | 505 | EUR | 264 | A
| Tisun |  | Solar cell |  | 132 | EUR | 265 | A
| Tisun |  | Flowrate measure device V40 for heat metering |  | 290 | EUR | 266 | A
| Tisun |  | Solar station HE with flow meter and control unit |  | 988 | EUR | 267 | A
| Tisun |  | Expansion module HE for solar station with sensor |  | 880 | EUR | 268 | A
| Tisun |  | Sensor module for large-scale systems (flow, pressure, temperature) |  | 1369 | EUR | 269 | A
| Tisun |  | Flow sensors for TiSUN® solar control units (heat metering) |  | 403 | EUR | 270 | A
| Tisun |  | Solar expansion tank 12 Liter |  | 73 | EUR | 271 | A
| Tisun |  | Solar expansion tank 50 Liter |  | 259 | EUR | 272 | A
| Tisun |  | Solar expansion tank 200 Liter |  | 587 | EUR | 273 | A
| Tisun |  | Solar expansion tank 500 Liter |  | 1196 | EUR | 274 | A
| Tisun |  | 3-way diverter valve with 230 V motor for heating and solar system |  | 179 | EUR | 275 | A
| Tisun |  | 3-way diverter valve with 230 V motor for large-scale systems (heating and solar) |  | 414 | EUR | 276 | A
| Tisun |  | Frost protection and heat transfer fluid |  | 10 | EUR | 277 | A
| Tisun |  | Surge protection for the collector sensor |  | 36 | EUR | 278 | A
| Tisun |  | Plain tile hook for plain tiled roof |  | 40 | EUR | 279 | A
Termosolar 21 | Valliant |  | auroTHERM VFK 900 |  |  |  | 280 | C
| Valliant |  | auroTHERM VFK 150 |  |  |  | 281 | C
| Valliant |  | auroTHERM VTK 1140 |  |  |  | 282 | C
| Valliant |  | auroTANK classic 80 |  |  |  | 283 | A
| Valliant |  | auroTANK exclusive 80 |  |  |  | 284 | A
| Valliant |  | auroMATIC pump station |  |  |  | 285 | A
| Valliant |  | auroMATIC solar control basic solar system |  |  |  | 286 | A
| Valliant |  | auroMATIC® datalogger DL2 |  |  |  | 287 | A
Termosolar 22 | NU-HEAT |  | EnergyPro Solar 209 panels | con conexión |  |  | 288 | C
| NU-HEAT |  | solar pumping station |  |  |  | 289 | A
| NU-HEAT |  | Solar expansion vessel |  |  |  | 290 | A
| NU-HEAT |  | Solar safety valve discharge vessel |  |  |  | 291 | A
| NU-HEAT |  | Solar drain-off |  |  |  | 292 | A
| NU-HEAT |  | Pre-insulated flexible stainless steel pipe |  |  |  | 293 | A
| NU-HEAT |  | Deltasol BS controller. |  |  |  | 294 | A
Termosolar 23 | Apricus |  | n/a | Sin conexión |  |  | 295 | N/A
Termosolar 24 | SCHUCO |  | N/A | Sin conexión |  |  | 296 | N/A
Termosolar 25 | Dimplex renewables |  | Flat plate solar collector SOLC201 | Sin conexión |  |  | 297 | C
| Dimplex renewables |  | Dimplex Solar Thermal System Packages SOL201 – 1 panel |  |  |  | 298 | C
| Dimplex renewables |  | SOL402 – 2 panel |  |  |  | 299 | C
| Dimplex renewables |  | HYDRAULIC PACK OPTIONS |  |  |  | 300 | A
| Dimplex renewables |  | Dimplex EC-Eau Solar Cylinders |  |  |  | 301 | A
Termosolar 26 | Solimpeks |  | Wunder CLS 2510 Drain | Sin conexión | 217.8 | EUR | 302 | A
| Solimpeks |  | Volther PowerVolt |  | 350.9 | EUR | 303 | C
| Solimpeks |  | Volther PowerTherm |  | 386.1 | EUR | 304 | C
| Solimpeks |  | On Roof PV-T Single |  | 50.6 | EUR | 305 | A
| Solimpeks |  | On Roof 2510 Single |  | 23.1 | EUR | 306 | A
| Solimpeks |  | Flexible Connector |  | 8.25 | EUR | 307 | A
| Solimpeks |  | Sensor Set |  | 29.7 | EUR | 308 | A
| Solimpeks |  | End Cap |  | 6.6 | EUR | 309 | A
| Solimpeks |  | Pump Station Double Unit |  | 132 | EUR | 310 | A
Termosolar 27 | Kioto Solar |  | Sistema Termosifón Ecogomex | Sin conexión |  |  | 311 | C
| Kioto Solar |  | colector TP BS Ecogomex | Sin conexión |  |  | 312 | C
| Kioto Solar |  | Tank 150 |  |  |  | 313 | A
| Kioto Solar |  | Sistema de Montaje |  |  |  | 314 | A
Termosolar 28 | Dimplex renewables |  | N/A |  |  |  | 315 | N/A
Termosolar 29 | JohnStone Supply |  | N/A |  |  |  | 316 | N/A
Termosolar 30 | Kingspan Solar |  | FPW18 |  | 1753 | EUR | 317 | C
| Kingspan Solar |  | FPW21 |  | 2604 | EUR | 318 | C
| Kingspan Solar |  | FPW25 |  | 3493 | EUR | 319 | C
| Kingspan Solar |  | THERMOMAX HP400 (VACUUM) |  | 1547 | EUR | 320 | C
Termosolar 31 | TVP solar |  | HT#Power:*for*Thermal*Applications*200°C*To*250°C |  |  |  | 321 | C
Termosolar 32 | Fagor |  | SOLARIA-2.1 AL S8 |  | 641 | EUR | 322 | C
| Fagor |  | SOLARIA-2.4 AL S8 |  | 835 | EUR | 323 | C
| Fagor |  | SOLARIA-2.8 AL S8 |  | 717 | EUR | 324 | C
Termosolar 33 | Kingspan Solar |  | Kingspan Flat Plate Solar System Package |  |  |  | 325 | C
| Kingspan Solar |  | Kingspan Solar 1808 Flat Plate Thermal |  |  |  | 326 | C
| Kingspan Solar |  | Kingspan Solar 2108 Flat Plate Thermal |  |  |  | 327 | C
Termosolar 34 | Saclima |  | Captador Solar E-21 |  | 475 | EUR | 328 | C
| Saclima |  | Captador Solar L-21 |  | 535 | EUR | 329 | C
| Saclima |  | estruc. 45º para cubierta plana (CAPTADOR SACLIMA E-21) |  | 145 | EUR | 330 | A
| Saclima |  | Cubierta Inclinada (CAPTADOR SACLIMA E-21) |  | 65 | EUR | 331 | A
| Saclima |  | estruc. 45º para cubierta plana (CAPTADOR SACLIMA L-21) |  | 159.5 | EUR | 332 | A
| Saclima |  | cubierta inclinada (CAPTADOR SACLIMA L-21) |  | 69 | EUR | 333 | A
| Saclima |  | DEPÓSITO ACS CON SERPENTÍN (150 LITROS) |  | 748.15 | EUR | 334 | A
| Saclima |  | DEPÓSITO ACS CON SERPENTÍN (200 LITROS) |  | 834.02 | EUR | 335 | A
| Saclima |  | DEPÓSITO ACS CON SERPENTÍN (300 LITROS) |  | 951.5 | EUR | 336 | A
| Saclima |  | DEPÓSITO ACS CON SERPENTÍN (400 LITROS) |  | 1166.3 | EUR | 337 | A
| Saclima |  | DEPÓSITO ACS CON SERPENTÍN (1000 LITROS) |  | 2365.4 | EUR | 338 | A
| Saclima |  | DEPÓSITO ACS CON DOBLE SERPENTÍN (300 LITROS) |  | 1379.9 | EUR | 339 | A
| Saclima |  | DEPÓSITO ACS CON DOBLE SERPENTÍN (400 LITROS) |  | 1629.6 | EUR | 340 | A
| Saclima |  | DEPÓSITO ACS CON DOBLE SERPENTÍN (500 LITROS) |  | 1759.9 | EUR | 341 | A
| Saclima |  | DEPÓSITO ACS CON DOBLE SERPENTÍN (750 LITROS) |  | 2987.25 | EUR | 342 | A
| Saclima |  | DEPÓSITO ACS CON DOBLE SERPENTÍN (1000 LITROS) |  | 3179.4 | EUR | 343 | A
| Saclima |  | DEPÓSITO ACS SIN SERPENTÍN (200 LITROS) |  | 783 | EUR | 344 | A
| Saclima |  | DEPÓSITO ACS SIN SERPENTÍN (500 LITROS) |  | 1322 | EUR | 345 | A
| Saclima |  | DEPÓSITO ACS SIN SERPENTÍN (750 LITROS) |  | 1613 | EUR | 346 | A
| Saclima |  | DEPÓSITO ACS SIN SERPENTÍN (1000 LITROS) |  | 1839 | EUR | 347 | A
| Saclima |  | DEPÓSITO MULTIFUNCIÓN ACS + CALEFACCIÓN (300 LITROS) |  | 1691 | EUR | 348 | A
| Saclima |  | DEPÓSITO MULTIFUNCIÓN ACS + CALEFACCIÓN (400 LITROS) |  | 1753 | EUR | 349 | A
| Saclima |  | DEPÓSITO MULTIFUNCIÓN ACS + CALEFACCIÓN (600 LITROS) |  | 2346 | EUR | 350 | A
| Saclima |  | DEPÓSITO MULTIFUNCIÓN ACS + CALEFACCIÓN (1000 LITROS) |  | 3472 | EUR | 351 | A
| Saclima |  | Resistencia 1500 W Monofasica |  | 130.2 | EUR | 352 | A
| Saclima |  | Resistencia 2000W Monofasica |  | 132.3 | EUR | 353 | A
| Saclima |  | Resistencia 2500W Monofasica |  | 157.5 | EUR | 354 | A
| Saclima |  | Resistencia 3500W Monofasica |  | 173.25 | EUR | 355 | A
| Saclima |  | Resistencia 1500W Trifasica |  | 281.4 | EUR | 356 | A
| Saclima |  | Resistencia 3000W Trifasica |  | 300.3 | EUR | 357 | A
| Saclima |  | Valvula de seguridad Hasta 200 Litros |  | 10.82 | EUR | 358 | A
| Saclima |  | Valvula de seguridad De 300-1000 Litros |  | 11.3 | EUR | 359 | A
| Saclima |  | Regulador Solar DeltaSol ® Omega Beta |  | 485 | EUR | 360 | A
| Saclima |  | Regulador Solar FLOW SOL B/ B HE con termostato BS/4 |  | 685 | EUR | 361 | A
| Saclima |  | Regulador Solar RESOL DELTASOL® CS4 |  | 190 | EUR | 362 | A
| Saclima |  | Resol data loggerDL/2 |  | 350 | EUR | 363 | A
| Saclima |  | Resol data loggerDL/3 |  | 672 | EUR | 364 | A
| Saclima |  | Bomba Yonos PICO 25/1-8 |  | 494 | EUR | 365 | A
| Saclima |  | Bomba Stratos 40/1-8 |  | 1460 | EUR | 366 | A
| Saclima |  | Bomba Wilo-Star-Z 20/7 EM |  | 643 | EUR | 367 | A
| Saclima |  | Caudalimetro V40 3,5 M3/H |  | 432 | EUR | 368 | A
| Saclima |  | CAUDALIMETRO V40 6 M3/H |  | 435 | EUR | 369 | A
| Saclima |  | RESOL DATALOGGER DL2 |  | 350 | EUR | 370 | A
| Saclima |  | Unidad de llenado 50 lts |  | 780 | EUR | 371 | A
| Saclima |  | BOMBA MANUAL DE TRASIEGO E INYECCIÓN |  | 125 | EUR | 372 | A
Termosolar 35 | Termicol |  | Captador Selectivo Plano Estándar - Absorbedor de parrilla |  | 465 | EUR | 373 | C
| Termicol |  | Captador Selectivo Plano de Gran Tamaño - Absorbedor de parrilla |  | 565 | EUR | 374 | C
| Termicol |  | Captador Selectivo Plano Estándar - Absorbedor de parrilla |  | 540 | EUR | 375 | C
| Termicol |  | Captador Selectivo Plano de Gran Tamaño - Absorbedor de parrilla |  | 600 | EUR | 376 | C
| Termicol |  | Captador Ultraselectivo Plano Estándar - Absorbedor de parrilla |  | 580 | EUR | 377 | C
| Termicol |  | Captador Ultraselectivo Plano de Gran Tamaño - Absorbedor de parrilla |  | 675 | EUR | 378 | C
| Termicol |  | Captador Ultraselectivo Plano Estándar - Absorbedor de parrilla |  | 590 | EUR | 379 | C
| Termicol |  | Captador Ultraselectivo Plano de Gran Tamaño - Absorbedor de parrilla |  | 685 | EUR | 380 | C
| Termicol |  | Captador ultraselectivo Plano Estándar - Absorbedor de meandro |  | 635 | EUR | 381 | C
| Termicol |  | Captador ultraselectivo Plano de Gran Tamaño - Absorbedor de meandro |  | 730 | EUR | 382 | C
| Termicol |  | Captador ultraselectivo Plano Estándar - Absorbedor de meandro |  | 635 | EUR | 383 | C
| Termicol |  | Captador ultraselectivo Plano de Gran Tamaño - Absorbedor de meandro |  | 730 | EUR | 384 | C
| Termicol |  | Captador Ultraselectivo tamaño estándar - Absorbedor de parrilla |  | 610 | EUR | 385 | C
| Termicol |  | Captador Ultraselectivo plano de gran tamaño - Absorbedor de parrilla |  | 715 | EUR | 386 | C
| Termicol |  | Captador ultraselectivo de gran formato - Tres T25US |  | 2950 | EUR | 387 | C
| Termicol |  | Captador ultraselectivo de gran formato - Cuatro T25US |  | 3900 | EUR | 388 | C
| Termicol |  | Captador ultraselectivo de gran formato - Cinco T25US |  | 4850 | EUR | 389 | C
| Termicol |  | ROOF TILE-INTEGRATED SYSTEMS |  | 15994 | EUR | 390 | A
| Termicol |  | Estructura soporte acero Vertical |  | 180 | EUR | 391 | A
| Termicol |  |  |  | 180 | EUR | 392 | A
| Termicol |  | Estructura soporte acero Horizontal |  | 145 | EUR | 393 | A
| Termicol |  |  |  | 150 | EUR | 394 | A
| Termicol |  | Cubierta Inclinada Vertical |  | 155 | EUR | 395 | A
| Termicol |  |  |  | 155 | EUR | 396 | A
| Termicol |  | Cubierta inclinada Horizontal |  | 127 | EUR | 397 | A
| Termicol |  |  |  | 130 | EUR | 398 | A
Termosolar 36 | Ecovita |  | EVP-10 |  | 4421 | MXN | 399 | C
| Ecovita |  | EVP-15 |  | 6155 | MXN | 400 | C
| Ecovita |  | EVP-20 |  | 8171 | MXN | 401 | C
| Ecovita |  | EVP-24 |  | 10055 | MXN | 402 | C
| Ecovita |  | EVP-30 |  | 12960 | MXN | 403 | C
Termosolar 37 | Solaria |  | SERIE S5M |  |  |  | 404 | C
| Solaria | [5 empty] | 405 | C
| Solaria | [5 empty] | 406 | C
| Solaria | [5 empty] | 407 | C
| Solaria |  | SERIE S6M |  |  |  | 408 | C
| Solaria | [5 empty] | 409 | C
| Solaria | [5 empty] | 410 | C
| Solaria |  | SERIE S6P |  |  |  | 411 | C
| Solaria | [5 empty] | 412 | C
| Solaria | [5 empty] | 413 | C
Termosolar 38 | Soflex |  | FK 250 Series |  |  |  | 414 | C
[7 empty] | 415 | C
|  |  | FK 500 Series |  |  |  | 416 | C
[7 empty] | 417 | C
|  |  | GK 3000 Series |  |  |  | 418 | C
[7 empty] | 419 | C
|  |  | CPC INOX Vacuum Tube Collectors |  |  |  | 420 | C
[7 empty] | 421 | C
[7 empty] | 422 | C
|  |  | CPC OEM Vacuum Tube Collectors |  |  |  | 423 | C
[7 empty] | 424 | C
[7 empty] | 425 | C
|  |  | OEM 21 Vacuum Tube Collectors |  |  |  | 426 | C
Termosolar 39 | Ocv |  | Reisol R4-2000-U |  |  |  | 427 | A
Termosolar 40 | Britec |  | Britec Lec-100- TS120Britec Lec-100- TS150 |  |  |  | 428 | C
|  |  | Britec Lec-100- TS200 |  |  |  | 429 | C
|  |  | Britec Lec-100- TS250 |  |  |  | 430 | C
|  |  | Britec Lec-100- TS300 |  |  |  | 431 | C
Termosolar 41 | IMS |  | ML 2.0 |  |  |  | 432 | C
|  |  | ML 2.1 |  |  |  | 433 | C
|  |  | ML 2.2 |  |  |  | 434 | C
|  |  | ML 2.3 |  |  |  | 435 | C
|  |  | ML2.5 |  |  |  | 436 | C
|  |  | ML2.6 |  |  |  | 437 | C
|  |  | ML2.7 |  |  |  | 438 | C
|  |  | ML2.8 |  |  |  | 439 | C
|  |  | ML 3.0 |  |  |  | 440 | C
|  |  | STS 120 |  |  |  | 441 | C
|  |  | STS 150 |  |  |  | 442 | C
|  |  | STS 180 |  |  |  | 443 | C
|  |  | STS 200 |  |  |  | 444 | C
|  |  | STS 250 |  |  |  | 445 | C
Termosolar 42 | TVP solar |  | HT#Power:*for*Thermal*Applications*200°C*To*250°C |  |  |  | 446 | C
Termosolar 43 | Roth |  | Heliostar 252 S4 Steck |  | 629 | EUR | 447 | C
| Roth |  | Heliostar 218 S4 Steck |  | 589 | EUR | 448 | C
| Roth |  | Kit Basico sobre tejado horizontal |  | 119 | EUR | 449 | A
| Roth |  | Juego Bastidor ST horizontal base |  | 239 | EUR | 450 | A
| Roth |  | Juego Bastidor ST horizontal fila |  | 95 | EUR | 451 | A
| Roth |  | Kit Basico sobre tejado vertical |  | 119 | EUR | 452 | A
| Roth |  | Juego Bastidor ST vertical base |  | 239 | EUR | 453 | A
| Roth |  | Juego Bastidor ST vertical fila |  | 95 | EUR | 454 | A
| Roth |  | Juego anclajes universales base horizontal |  | 143.9 | EUR | 455 | A
| Roth |  | Juego anclajes universales fila horizontal |  | 49.9 | EUR | 456 | A
| Roth |  | Juego anclajes universales base vertical |  | 104.3 | EUR | 457 | A
| Roth |  | Juego anclajes universales fila vertical |  | 37.1 | EUR | 458 | A
| Roth |  | Anclaje para teja arabe |  | 20.5 | EUR | 459 | A
| Roth |  | Montaje sobre tejado en vertical basico |  | 668 | EUR | 460 | A
| Roth |  | Montaje sobre tejado en vertical base |  | 930 | EUR | 461 | A
| Roth |  | Montaje sobre tejado en vertical fila |  | 339 | EUR | 462 | A
| Roth |  | Montaje sobre cubierta plana bastidor FHT horizontal |  | 130.9 | EUR | 463 | A
| Roth |  | Montaje sobre cubierta plana bastidor FHT vertical base |  | 224.3 | EUR | 464 | A
| Roth |  | Montaje sobre cubierta plana bastidor FHT vertical fila |  | 132.2 | EUR | 465 | A
| Roth |  | Regulador Solar EBW |  | 195 | EUR | 466 | A
| Roth |  | Regulador Solar EBW/H |  | 239 | EUR | 467 | A
| Roth |  | Regulador Solar BW/H Confort AE |  | 675 | EUR | 468 | A
| Roth |  | Modulo de ampliacion para BW/H Confort AE |  | 417 | EUR | 469 | A
| Roth |  | Caudalimetro DN 32 |  | 439 | EUR | 470 | A
| Roth |  | Grupo hidraulico Drainback AE |  | 890.6 | EUR | 471 | A
| Roth |  | Vaso de expansion de membrana fija 24 Litros |  | 56.7 | EUR | 472 | A
| Roth |  | Vaso de expansion de membrana recambiable 200 Litros |  | 630.5 | EUR | 473 | A
| Roth |  | Aerotermo 32 Kw |  | 1823.7 | EUR | 474 | A
| Roth |  | Montaje sobre cubierta plana |  | 2615.3 | EUR | 475 | A
| Roth |  | Montaje sobre tejado |  | 2584 | EUR | 476 | A
| Roth |  | Aditivo calportante azul 50 Litros |  | 189.7 | EUR | 477 | A
Termosolar 44 | Bosch |  | Greenskies Solar-Lifestyle collectors |  |  |  | 478 | C
| Bosch |  | Lito collector |  |  |  | 479 | C
| Bosch |  | TDS100-2 |  |  |  | 480 | A
| Bosch |  | CS200 Solar Controller, |  |  |  | 481 | A
| Bosch |  | ISM1 |  |  |  | 482 | A
| Bosch |  | FR110 & FW100 |  |  |  | 483 | A
Termosolar 45 | Firebird |  | SOL820VTS |  | 952.08 | EUR | 484 | C
| Firebird |  | SOL100FPC |  | 605 | EUR | 485 | C
| Firebird |  | SOL150VTC |  | 1167 | EUR | 486 | C
| Firebird |  | TZ58-1800 - 20 Tube Heat Pipe Set |  | 952.08 | EUR | 487 | A
| Firebird |  | Flat plate Solar Collector - CPK 7210N Mouting Kit |  | 605 | EUR | 488 | A
| Firebird |  | Vacuum Tube Solar Collector - CVSKC Mounting Kit |  | 1167 | EUR | 489 | A
| Firebird |  | Mounting kit for 1 extra CPK flat panels - Pitched roof |  | 198 | EUR | 490 | A
| Firebird |  | In-roof flashing for 1 extra panel |  | 296 | EUR | 491 | A
| Firebird |  | Mounting kit for 1 extra CPK flat panels - Flat roof |  | 245 | EUR | 492 | A
| Firebird |  | Mounting kit for 1 extra CVSKC tubes - Flat roof |  | 186 | EUR | 493 | A
| Firebird |  | Heat Pipe Solar Collector, Model TZ58-1800 |  | 821 | EUR | 494 | A
| Firebird |  | Flat Panel Collector, Model CPK-7210 |  | 1347 | EUR | 495 | A
| Firebird |  | Vacuum Tube Collector, Model CSVKC |  | 33 | EUR | 496 | A
| Firebird |  | Mounting kit for 1 extra CPK flat panels - Pitched roof |  | 99 | EUR | 497 | A
| Firebird |  | In-roof flashing for 1 extra panel |  | 26 | EUR | 498 | A
| Firebird |  | Mounting kit for 1 extra CPK flat panels - Flat roof |  | 5 | EUR | 499 | A
| Firebird |  | Mounting kit for 1 extra CVSKC tubes - Flat roof |  | 63 | EUR | 500 | A
| Firebird |  | Deltasol BS4 Controller & Twin Pump Station |  | 71 | EUR | 501 | A
| Firebird |  | Excelstor Twin Coil Solar Tank, 215 litres Unvented |  | 54 | EUR | 502 | A
| Firebird |  | Expansion Vessel, 24L |  | 20 | EUR | 503 | A
| Firebird |  | 3-way mixing valve |  | 20 | EUR | 504 | A
| Firebird |  | Automatic Air Vent |  | 20 | EUR | 505 | A
| Firebird |  | Stop valve 3/8" |  | 20 | EUR | 506 | A
| Firebird |  | Tyfocor L Anti-freeze - Flat plate |  | 53 | EUR | 507 | A
| Firebird |  | Tyfocor LS Anti-freeze – Vacuum Tube |  | 45 | EUR | 508 | A
| Firebird |  | 1m Flexi pipe |  | 45 | EUR | 509 | A
| Firebird |  | Fittings for flat plate / vacuum tub |  | 45 | EUR | 510 | A
Termosolar 46 | Sunbelt |  | Fittings for flat plate / vacuum tube |  |  |  | 511 | A
| Sunbelt |  | Fittings for TZ58 tube |  |  |  | 512 | A
| Sunbelt |  | Fittings for TZ58 tube |  |  |  | 513 | A
| Sunbelt |  | Pipe flashing; for Tiled roof |  |  |  | 514 | A
| Sunbelt |  | Pipe flashing; for Slate roof |  |  |  | 515 | A
| Sunbelt |  | Solar Weather-proof Cover -Flat Plate |  |  |  | 516 | A
| Sunbelt |  | Solar Weather-proof Cover -Vacuum Tube |  |  |  | 517 | A
| Sunbelt |  | Colector Sunbelt 2,1 S |  |  |  | 518 | C
| Sunbelt |  | 1-200 TP/TI |  |  |  | 519 | C
| Sunbelt |  | 2-300 TP/TI |  |  |  | 520 | C
| Sunbelt |  | 3-500 TP/TI |  |  |  | 521 | C

## Hoja1
Emmeti
| CENTRALINA SOLARE EMCS 2015 | 120.33
| 3/4" 2-WAY TOPWAY WHR | 21.4
| OVER VOLTAGE KIT PROTECTION | 6.27
| CONTACT PROBE FOR UNIT ECS CABLE 1,5m | 10.68
| SOLAR GROUP CIRC.1"M 8-38 GSN1V38 2015 | 163.73
| COLLETTORE SOL. ARCOBALENO SRTV SINGOLO | 345.84
| RIDGE CAP F/ARCOBALENO SXI-SXE BASE KIT | 144.4
| DIFFERENTIAL THERMOSTAT TD1 | 46.53
| SENSOR POCKET | 2.46
| IMMERSION PROBE FOR UNIT ECS CABLE 2m | 7.62
| SOLAR COLLECTOR ARCOBALENO VP 12 SINGLE | 724.5
| SET INSTALL. TILE ROOF 3 GUIDE | 144.4
| SET INSTALL. FLAT ROOF/WALL 45 | 139.05
| SET ALL. SUPPORT GUIDE 3 | 81.78
| SET BRACKETS BENT TILE ROOF 3 COUPLE | 129.61
| SET BRACKETS SLATE ROOF 3 COUPLE | 80.3
| SOLAR RATED AUTOMATIC AIR VENT 1/2" | 6.08
| DE-AERATION DEVICE DN15 G1 M X G3/4 F | 18.12
| BRACKET FOR SOLAR EXPANSION VESSEL | 11.6
| STAINLESS STEEL FLEX. HOSE FOR L 500 | 6.08
| 18L EXPANSION VESSEL FOR SOLAR | 27.2
| PROGRESS BALL VALVE SOLAR M-F 1/2 BUTT | 2.33
| SAFETY VALVE 1/2"F X 3/4"F 4 BAR | 6.13
| IMMERSION SLEEVES D 7 mm, L 45mm M1/2" | 5.32
| SOLAR MIXING VALVE 1/2"F | 34.84
| SXT BRACKETS W/ADJUSTABLE HEIGHT | 34.84
| PLUGS KIT FOR ARCOBALENO SXT-SXTV-SRTV | 2.94
| SET BRACKETS REG. TILE ROOF 3 COUPLE | 135.52
| SOLAR RATED AUTOMATIC AIR VENT 1/2" | 6.08
| SENSOR FOR ELECTRIC CONTROL BOARDS | 3.56
| FOGLIO ISTRUZIONI X COLLETTORI SOLARI MT | 0